## CF - Fuels Data
Fuel | Price | CO2 Emissions
fuel | price | co2_emissions
- | €/MWh | kg CO2/kWh
natural_gas | 101
biomass
electricity | 117 | 0.623
fuel_oil | 179

## CF - Sources General Data
Source ID | Source Name | Latitude | Longitude
source_id | name | latitude | longitude
- | - | º | º
1 | BIOPAR | 39.3972 | 22.8042
2 | Polysan | 39.3931 | 22.8036
3 | CAO | 39.3986 | 22.8044
4 | Halibourgia | 39.3856 | 22.8069

## CF - Simple Sources' Streams
Source_ID | Stream ID | Name | Fluid | Supply Temperature | Target Temperature | Mass Flowrate | Fluid cp | Capacity | Shutdown Periods | Daily Periods | Saturday On | Sunday On | Monday Daily Periods | Tuesday Daily Periods | Wednesday Daily Periods | Thursday Daily Periods | Friday Daily Periods | Saturday Daily Periods | Sunday Daily Periods | Real Hourly Capacity | Real Daily Capacity | Real Monthly Capacity | Real Yearly Capacity
source_id | stream_id | name | fluid | supply_temperature | target_temperature | flowrate | fluid_cp | capacity | shutdown_periods | daily_periods | saturday_on | sunday_on | monday_daily_periods | tuesday_daily_periods | wednesday_daily_periods | thursday_daily_periods | friday_daily_periods | saturday_daily_periods | sunday_daily_periods | real_hourly_capacity | real_daily_capacity | real_monthly_capacity | real_yearly_capacity
- | - | - | - | ºC | ºC | kg/h | kJ/kg.K | kW | - | - | - | - | - | - | - | - | - | - | - | kWh | kWh | kWh | kWh
1 | 1 | flue gas | flue_gas | 220 | 120 |  |  | 438 | [[274,300],[335,365]] | [[0,24]] | yes | yes
2 | 1 | hot water | water | 70 | 60 |  |  | 279 | [] | [[0,24]] | yes | yes
3 | 1 | flue gas | flue_gas | 140 | 120 |  |  | 73 | [[182,240]] | [[6,21]] | no | no
4 | 1 | flue gas | flue_gas | 900 | 500 |  |  | 2741 | [] | [[0,6],[22,24]] | yes | yes

## CF - Grid Connection Point
Latitude | Longitude | Levelized CO2 emissions | Levelized OM Var | Levelized OM Fix
latitude | longitude | levelized_co2_emissions | levelized_om_var | levelized_om_fix
º | º | kg CO2/kWh | €/kWh | €/kWh

## CF - Sinks General Data
Sink ID | Sink Type | Sink Name | Latitude | Longitude
sink_id | sink_type | name | latitude | longitude
- | - | - | º | º
5 | simple sink | SHM | 39.3947 | 22.8122
6 | simple sink | M-pack | 39.3914 | 22.8131
7 | simple sink | Aposteirosi | 39.3981 | 22.8042
8 | simple sink | Biomar | 39.3972 | 22.8094
9 | simple sink | Manos | 39.3967 | 22.8139
10 | simple sink | Elin | 39.3961 | 22.8058
11 | simple sink | ag. Georgios (hot water) | 39.37 | 22.7769

## CF - Simple Sinks' Streams
Sink ID | Stream ID | Name | Fluid | Supply Temperature | Target Temperature | Mass Flowrate | Fluid cp | Capacity | Ref. System - Fuel | Ref. System - Equipment Efficiency | Shutdown Periods | Daily Periods | Saturday On | Sunday On | Monday Daily Periods | Tuesday Daily Periods | Wednesday Daily Periods | Thursday Daily Periods | Friday Daily Periods | Saturday Daily Periods | Sunday Daily Periods | Real Hourly Capacity | Real Daily Capacity | Real Monthly Capacity | Real Yearly Capacity
sink_id | stream_id | name | fluid | supply_temperature | target_temperature | flowrate | fluid_cp | capacity | ref_system_fuel_type | ref_system_eff_equipment | shutdown_periods | daily_periods | saturday_on | sunday_on | monday_daily_periods | tuesday_daily_periods | wednesday_daily_periods | thursday_daily_periods | friday_daily_periods | saturday_daily_periods | sunday_daily_periods | real_hourly_capacity | real_daily_capacity | real_monthly_capacity | real_yearly_capacity
- | - | - | - | ºC | ºC | kg/h | kJ/kg.K | kW | - | - | - | - | - | - | - | - | - | - | - | - | - | kWh | kWh | kWh | kWh
5 | 1 | SHM_steam | steam | 77 | 180 |  |  | 898.0994 | natural_gas | 0.9 | [[244,300]] | [[6,23]] | no | no
5 | 2 | SHM_makeupwater | water | 10 | 100 |  |  | 36.5759 | natural_gas | 0.9 | [[244,300]] | [[6,23]] | no | no
6 | 1 | M-pack_steam | steam | 77 | 180 |  |  | 852.2727 | natural_gas | 0.9 | [[210,240]] | [[8,15]] | no | no
6 | 2 | M-pack_makeupwater | water | 10 | 100 |  |  | 35.1187 | natural_gas | 0.9 | [[210,240]] | [[8,15]] | no | no
7 | 1 | Aposteirosi_steam | steam | 77 | 180 |  |  | 282.5521 | natural_gas | 0.9 | [] | [[4,23]] | yes | no
7 | 2 | Aposteirosi_makeupwater | water | 10 | 100 |  |  | 11.5071 | natural_gas | 0.9 | [] | [[4,23]] | yes | no
8 | 1 | Biomar_water | water | 10 | 80 |  |  | 271.5774 | natural_gas | 0.9 | [] | [[0,24]] | yes | no
8 | 2 | Biomar_steam | steam | 77 | 164 |  |  | 1357.8869 | natural_gas | 0.9 | [] | [[0,24]] | yes | yes
8 | 3 | Biomar_makeupwater | water | 10 | 100 |  |  | 147.4376 | natural_gas | 0.9 | [] | [[0,24]] | yes | yes
9 | 1 | Manos_steam | steam | 66 | 180 |  |  | 3018.2292 | natural_gas | 0.9 | [] | [[8,15]] | yes | yes
9 | 2 | Manos_makeupwater | water | 10 | 100 |  |  | 163.5036 | natural_gas | 0.9 | [] | [[8,15]] | yes | yes
10 | 1 | Elin_steam | steam | 77 | 164 |  |  | 1672.2037 | natural_gas | 0.9 | [] | [[0,24]] | no | no
10 | 2 | Elin_makeupwater | water | 10 | 100 |  |  | 68.2964 | natural_gas | 0.9 | [] | [[0,24]] | yes | yes
11 | 1 | hot water | water | 10 | 60 |  |  | 596.7123 | natural_gas | 0.9 | [] | [[6,7],[12,13],[20,22]] | yes | yes

## CF - Sinks Greenhouse
Sink ID | Greenhouse orientation | Greenhouse efficiency | Width | Length | Height | Greenhouse artificial lighting | Plants daylight hours | Heating setpoint temperature | Thermal blanket | Ref. System - Fuel | Ref. System - Equipment Efficiency | Shutdown periods | Daily Periods | Real Monthly Capacity | Real Yearly Capacity
sink_id | greenhouse_orientation | greenhouse_efficiency | width | length | height | artificial_lights_system | hours_lights_needed | T_heat_on | thermal_blanket | ref_system_fuel_type | ref_system_eff_equipment | shutdown_periods | daily_periods | real_heating_monthly_capacity | real_heating_yearly_capacity
- | - | - | m | m | m | - | h | ºC | - | - | - | days | - | kWh | kWh

## CF - Sinks Buildings
Sink ID | Building Orientation | Building Type | Number Person per floor | Number of rooms | Number of floors | Width floor | Length floor | Height floor | Space Heating Type | Cooling setpoint temperature | Heating setpoint temperature | Cooling setback setpoint temperature | Heating setback setpoint temperature | North facade wall ratio | South facade wall ratio | East facade wall ratio | West facade wall ratio | HEATING Ref. System - Fuel | HEATING Ref. System - Equipment Efficiency | COOLING Ref. System - Fuel | COOLING Ref. System - Equipment Efficiency | Shutdown periods | Daily Periods | Saturday On | Sunday On | HEATING Real Monthly Capacity | HEATING Real Yearly Capacity | COOLING Real Monthly Capacity | COOLING Real Yearly Capacity
sink_id | building_orientation | building_type | number_person_per_floor | number_rooms | number_floor | width_floor | length_floor | height_floor | space_heating_type | T_cool_on | T_heat_on | T_off_max | T_off_min | ratio_wall_N | ratio_wall_S | ratio_wall_E | ratio_wall_W | ref_system_fuel_type_heating | ref_system_eff_equipment_heating | ref_system_fuel_type_cooling | ref_system_eff_equipment_cooling | shutdown_periods | daily_periods | saturday_on | sunday_on | real_heating_monthly_capacity | real_heating_yearly_capacity | real_cooling_monthly_capacity | real_cooling_yearly_capacity
- | - | - | person per floor | - | - | m | m | m | - | ºC | ºC | ºC | ºC | - | - | - | - | - | - | - | - | days | - | - | - | kWh | kWh | kWh | kWh